ANSTO E-747


TABLE 20

RADIOACTIVITY IN GROUNDWATER 

FROM THE VICINITY OF BUILDING 27 (1), 2001

Date Sampled
RADIOACTIVITY    (Bq/L)


Gamma-emitters (2,3)
Tritium (4)

29-1-01
N.D.
350 ( 20

19-2-01
N.D.
360 ( 20

21-3-01
N.D.
340 ( 10

18-4-01
N.D.
390 ( 20

18-5-01
N.D.
360 ( 30

21-6-01
N.D.
380 ( 10

30-7-01
N.D.
310 ( 10

31-8-01
N.D.
310 ( 20

28-9-01
N.D.
350 ( 10

 26-10-01
N.D.
370 ( 10

22-11-01
N.D.
240 ( 20

20-12-01
N.D.
360 ( 20

Notes:

1. See Figure 2 for the location of the groundwater sump near building 27. Building 27 houses the intermediate waste and spent fuel storage facility.

2. Gamma spectrometry was performed on a 500mL acidified sample in a Marinelli beaker.

3. N.D:- no statistically significant gamma peaks were detected.

4. The average tritium level recorded in the groundwater for 2001 was 340 Bq/L. This is < 5% of the Australian guideline value for tritium in drinking water: 7600 Bq/L (NH&MRC, 1996).

TABLE 21

RADIOACTIVITY IN LIQUID EFFLUENT DISCHARGED FROM LHSTC 

TO THE SYDNEY WATER SEWER, 2001

MONTH
TOTAL VOLUME

Discharged
m3
AVERAGE CONCENTRATION IN DISCHARGES
Average MONTHLY Concentration QUOTIENT (3)



ALPHA (1)
Bq/m3
BETA (2)
Bq/m3
TRITIUM

Bq/m3


January
6729
< 7.0 x 102
9.77 x 103
3.75 x 106
< 0.15

February
9671
< 7.5 x 102
7.55 x 103
2.25 x 106
< 0.13

March
8203
< 9.2 x 102
9.18 x 103
2.82 x 107
< 0.29

April
5100
  < 8.0 x 102
4.92 x 103
1.39 x 107
< 0.18

May
11613
< 9.1 x 102
7.18 x 103
1.60 x 106
< 0.14

June
6677
< 1.0 x 103
5.25 x 103
3.06 x 107
< 0.30

July
6771
  < 9.3 x 103
  1.60 x 104
9.90 x 107
< 0.24

August
8504
  < 1.1 x 103
  1.04 x 104
1.23 x 106
< 0.18

September
5986
< 1.1 x 103
  3.32 x 103
1.99 x 106
< 0.12

October
7689
< 1.3 x 103
  3.38 x 103
4.90 x 106
< 0.16

November
7902
< 1.2 x 103
1.83 x 103
3.99 x 106
< 0.13

December
5971
< 9.5 x 102
4.04 x 103
3.16 x 106
< 0.12

Average
7568
< 1.7 x 103
6.90 x 103
1.62 x 107
< 0.18

Activity Concentration        Equivalent at ANSTO (4)


1.25 x 104       (as 226Ra)
1.25 x 105       ( as 90Sr )
1.95 x 108


1.00



Notes:

1. A mixture of unidentified alpha-emitting nuclides, assumed to be all radium-226 (ie. possible worst case) when calculating the concentration quotient. 

2. A mixture of unidentified beta-emitting nuclides, assumed to be all strontium-90 (ie. possible worst case) when calculating the concentration quotient.

3. Concentration Quotient: the sum of the average monthly concentrations of alpha, beta and tritium radioactivity in the liquid effluent divided by the Activity Concentration Equivalent for that radionuclide. The final quotient term must be no greater than one to comply with the requirements of the Sydney Water Trade Wastewater Agreement.

4. All discharges for 2001 were below the Activity Concentration Equivalents at ANSTO (which are based on the WHO Guidelines for Drinking-Water Quality, 1993).

TABLE 22

NON-RADIOACTIVE COMPONENT OF LIQUID EFFLUENT 

DISCHARGED FROM LHSTC TO THE SYDNEY WATER SEWER, 

1997 – 2001

Component 

mg/L
Yearly Average

and Range of Values (1)
Standard for Acceptance

     mg/L (2)


1997
1998
1999
2000
2001


Suspended Solids
22

(5 to 62)
22

(7 to 51)
19

(1 to 35)
19

(2 to 76)
23

(9 to 133)
200            (600 from 1st July 2001)

pH
7.3

(7.0 to 8.3)
7.6

(7.0 to 8.3)
7.3

(6.9 to 8.0)
7.3

(6.3 to 8.0)
7.7

(6.1 to 8.6)
7 – 10

Ammonia
16.0

(2.4 to 60)
10.7

(1.0 to 46)
10

(1.0 to 40)
6.7

(0 to 30)
13.5

(2.1 to 32.6)
50              (100 from 1st July 2001)

B.O.D.
23
12
14
7
12

( 2 to 54)
   85 (3)

Grease
13
12
7
5
6

(5 to 46)
50

Chromium (4)
1.4
1.2
0.8
0.01
-
3 

Zinc
-
-
-
0.39
0.16

(0.02 to 0.32)
5

Notes:

1. Yearly averages are slightly overestimated since "less-than" values were included.  The minimum and maximum values for the year are given in brackets.

2. Under the Sydney Water Trade Waste Agreement, the sampling regime was every 15 days until 1 July 2001, when a new Agreement came into effect that stipulated sampling every 4 days. At the same time the allowable concentrations for suspended solids and ammonia were also increased. Of the samples analysed, 95% must be less than or equal to the Standards for Acceptance of Liquid Trade Wastes to Sewers, specified in the Sydney Water Trade Waste Policy and Management Plan (1995). 

3. The standards for acceptance do not stipulate a specific limit for biological oxygen demand (BOD), therefore the agreed limit is applicable in this case.

4. Chromium was removed from the effluent analysis schedule in May 2000 and replaced by zinc.

TABLE 23a

AIRBORNE EMISSIONS OF IODINE-123 FROM THE 

NATIONAL MEDICAL CYCLOTRON, 2001

Month
123I               Total Activity (GBq)
18F                 Total Activity (GBq)
67Ga             Total Activity (GBq)
201Tl              Total Activity (GBq)

January
0.86 
1.59
ND
ND

February
2.76
1.01
0.015
ND

March
1.94 
0.29
0.029
ND

April
2.71 
0.67
0.032
ND

May
1.83 
1.54
0.042
ND

June
1.72 
0.54
0.002
ND

July
1.60 
0.92
ND
ND

August
1.57 
0.36
0.062
ND

September
2.17
1.09
0.0098
ND

October
6.65
0.67
ND
ND

November
3.78 
0.90
ND
0.0015

December
4.20 
0.61
ND
0.0074

TOTAL 
31.8
10.2
0.19
0.0089

Annual Notification Level
100 GBq
250 GBq
500 GBq 

(total for all other nuclides) 

TABLE 23b

AVERAGE CONCENTRATION OF RADIONUCLIDES IN LIQUID EFFLUENT FROM THE NATIONAL MEDICAL CYCLOTRON, 2001

Month
Monthly Average Concentration in Liquid Effluent

 (MBq/m3)


201Tl 
202Tl 
67Ga 
57Co 
65Zn 
123 I (1)

January
0.84
3.85
0.07
0.64
0.25
ND

February
0.42
0.12
8.15
0.55
0.08
ND

March
1.77
0.09
0.46
2.42
0.38
ND

April
9.12
1.24
0.33
0.90
0.10
ND

May
0.54
0.13
0.09
0.13
0.39
ND

June
3.76
0.69
0.38
0.94
0.20
ND

July
0.60
0.25
0.19
0.55
0.08
ND

August
0.55
0.34
0.41
0.52
0.17
ND

September
1.28
0.68
0.18
1.79
0.24
ND

October
0.47
0.13
0.04
0.14
0.04
ND

November
0.96
0.28
0.12
0.04
0.11
ND

December
16.46
1.31
0.28
0.33
0.25
0.01

NSW EPA Monthly Limits
200
100
600
400
1008
6.00

Half-life (days)
3.0
12.2
3.3
270.9
244.4
0.54

Notes for Tables 23a and 23b:

1. ND indicates that no statistically significant radioactivity was detected. 

TABLE 24

Estimated Effective Doses from LHSTC Airborne Discharges, 2001

Receptor          Location
2001 Estimated Effective Dose (1)
 mSv/yr   
Estimated Dose as Percentage of site dose constraint (2)
Estimated Dose as Percentage of annual public dose limit (3)

Nearest resident
0.0024
0.78
0.24

LHSTC Library
0.0033
1.10
0.33

LHSTC Building 9
0.0051
1.70
0.51

LHSTC Main gate
0.0022
0.73
0.22

Stevens Hall Motel
0.0062
2.07
0.62

LH Waste Service Centre (tip)
0.0011
0.37
0.11

BMX track
0.0006
0.20
0.06

Woronora Valley
0.0006
0.21
0.06

At 1.6 kilometre radius from HIFAR

NORTH 
0.0046
1.53
0.46

NNE 
0.0034
1.13
0.34

NE 
0.0034
1.13
0.34

ENE 
0.0033
1.10
0.33

EAST  
0.0025
0.83
0.25

ESE 
0.0013
0.43
0.13

SE 
0.0014
0.47
0.14

SSE 
0.0014
0.47
0.14

SOUTH 
0.0011
0.37
0.11

SSW 
0.0011
0.37
0.11

SW 
0.0020
0.68
0.20

WSW 
0.0017
0.58
0.17

WEST  
0.0007
0.24
0.07

WNW 
0.0007
0.24
0.07

NW 
0.0013
0.43
0.13

NNW 
0.0024
0.81
0.24

At 4.8 kilometre radius from HIFAR

NORTH 
0.0011
0.38
0.11

NNE 
0.0007
0.23
0.07

NE 
0.0008
0.27
0.08

ENE 
0.0008
0.25
0.08

EAST 
0.0006
0.18
0.06

ESE 
0.0003
0.09
0.03

SE 
0.0003
0.10
0.03

SSE 
0.0003
0.10
0.03

SOUTH 
0.0002
0.07
0.02

SSW 
0.0002
0.07
0.02

SW 
0.0005
0.16
0.05

WSW 
0.0004
0.13
0.04

WEST 
0.0002
0.05
0.02

WNW 
0.0002
0.05
0.02

NW 
0.0003
0.10
0.03

NNW 
0.0006
0.19
0.06

Notes:

1. The annual effective dose is estimated using actual stack discharge data as input to the computer model, PC-Cream.

2. The site dose constraint is 0.3 mSv/year. 

3. The annual dose limit for members of the public is 1 mSv/year (NH&MRC, 1995).

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2001

62

