ANSTO E-747


TABLE 17

AMBIENT IODINE-131 IN AIR AT LHSTC, 2001

Sampled during the

week ending:
Iodine-131(1,2)
 Air Concentration

Bq / m3
Sampled during the

week ending:
Iodine-131

 Air Concentration

Bq / m3

2-1-01
< 0.0025
3-7-01
< 0.0025

10-1-01
< 0.0025
12-7-01
< 0.0025

16-1-01
< 0.0025
17-7-01
< 0.0025

23-1-01
< 0.0025
24-7-01
< 0.0025

30-1-01
< 0.0025
31-7-01
< 0.0025

6-2-01
< 0.0025
7-8-01
< 0.0025

13-2-01
< 0.0025
16-8-01
< 0.0025

20-2-01
< 0.0025
21-8-01
< 0.0025

27-2-01
< 0.0025
28-8-01
< 0.0025

6-3-01
< 0.0025
4-9-01
< 0.0025

13-3-01
< 0.0025
11-9-01
< 0.0025

20-3-01
< 0.0025
18-9-01
< 0.0025

27-3-01
< 0.0025
25-9-01
< 0.0025

3-4-01
< 0.0025
2-10-01
< 0.0025

10-4-01
< 0.0025
9-10-01
< 0.0025

17-4-01
< 0.0025
16-10-01
< 0.0025

24-4-01
< 0.0025
26-10-01
< 0.0025

1-5-01
< 0.0025
30-10-01
< 0.0025

8-5-01
< 0.0025
6-11-01
< 0.0025

15-5-01
< 0.0025
13-11-01
< 0.0025

23-5-01
< 0.0025
20-11-01
< 0.0025

29-5-01
< 0.0025
27-11-01
< 0.0025

5-6-01
< 0.0025
4-12-01
< 0.0025

12-6-01
< 0.0025
13-12-01
< 0.0025

19-6-01
< 0.0025
18-12-01
< 0.0025

26-6-01
< 0.0025
24-12-01
< 0.0025

Notes:

1. Four air samplers are located along the eastern boundary of the LHSTC site, where suburban residences are closest (see Figure 2). Results are calculated making the conservative assumptions that:

(a)   all iodine-131 activity was released during the first day of the 7 day sampling period; 

(b)   all the activity was concentrated at one sampling point.

2. A person with continuous exposure to iodine-131 at a concentration of  0.0025 Bq/m3 would receive an effective dose of less than 0.01 mSv per year (IAEA, 1994).

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2001

51


