ANSTO E-745


TABLE 19c

AIRBORNE RADIOACTIVITY DISCHARGES FROM INDIVIDUAL DISCHARGE POINTS at LHSTC,

July – September 2000

STACK (1)
Alpha

(kBq)
    Beta (2)
(kBq)
 Iodine-131 (MBq)
Tritium (GBq)
Noble

    Gases (3) (TBq)
Other Nuclides (MBq)

3
    N.D. (4)
N.D.
0.21







15A
N.D.
130
1.0
770
31
Hg-197

11.0
Hg-203

0.86
As-76

22.0
Br-82

1.2

15M
N.D.
N.D.
0.083
31
1.7





19S
N.D.
N.D.
3.4







19D
N.D.
N.D.
0.078







20
N.D.
N.D.
0.28
20






21A
N.D.
N.D.
0.026







21B
N.D.
N.D.
0.042







23A
N.D.
430
330







23B
N.D.
N.D.
0.22







41A
N.D.
N.D.
6.2







41B
N.D.
N.D.
0.71







54 
N.D.
N.D.
3100

38
I-132

23000
I-133

 310



56
N.D.
N.D.
3.4







57
N.D.
N.D.
0.91
230






Notes:

1. See Figure 2 for the location of the discharge stacks and Appendix B for explanations of the different types of airborne discharges.

2. Any long-lived beta activity is assumed to be Strontium-90, although this nuclide is not a likely candidate.

3. Noble gases emitted from building 54 stack are short-lived radioactive isotopes of Xenon and Krypton from Tc-99 production. HIFAR emits mainly Argon-41 produced by the neutron activation of air inside the reactor irradiation facilities.

4. “N.D.” indicates that the radioactivity was not detected.

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

62


