ANSTO E-745


TABLE 19a

AIRBORNE RADIOACTIVITY DISCHARGES FROM INDIVIDUAL DISCHARGE POINTS at LHSTC,

January – March 2000

STACK (1)
Alpha

(kBq)
    Beta (2)
(kBq)
 Iodine-131 (MBq)
Tritium (GBq)
Noble

    Gases (3) (TBq)
Other Nuclides (MBq)

3
    N.D. (4)
N.D.
0.6







15A
N.D.
33
0.62
8500
16
Hg-197

9.6
Hg-203

2.4
As-76

15
Br-82

0.61

15M
N.D.
N.D.
0.2
140
1.1





19S
N.D.
N.D.
1.1







19D
N.D.
N.D.
0.099







20
N.D.
N.D.
1.0
37






21A
N.D.
N.D.
0.059







21B
N.D.
N.D.
0.017







23A
N.D.
280
990







23B
N.D.
N.D.
0.32







41A
N.D.
N.D.
0.84







41B
N.D.
N.D.
0.46







54 
N.D.
N.D.
3000

160
I-132

23000
I-133

 1500



56
N.D.
N.D.
1.9







57
N.D.
N.D.
2.8
60






Notes:

1. See Figure 2 for the location of the discharge stacks and Appendix B for explanations of the different types of airborne discharges.

2. Any long-lived beta activity is assumed to be Strontium-90, although this nuclide is not a likely candidate.

3. Noble gases emitted from building 54 stack are short-lived radioactive isotopes of Xenon and Krypton from Tc-99 production. HIFAR emits mainly Argon-41 produced by the neutron activation of air inside the reactor irradiation facilities.

4. “N.D.” indicates that the radioactivity was not detected.

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

60


