ANSTO E-745


TABLE 17

AMBIENT IODINE-131 IN AIR at LHSTC, 2000

Sampled during the

week ending:
Iodine-131(1,2)
 Air Concentration

Bq / m3
Sampled during the

week ending:
Iodine-131

 Air Concentration

Bq / m3

5-1-00
< 0.0025
4-7-00
< 0.0025

11-1-00
< 0.0025
11-7-00
< 0.0025

18-1-00
< 0.0025
18-7-00
< 0.0025

25-1-00
< 0.0025
25-7-00
< 0.0025

1-2-00
< 0.0025
1-8-00
< 0.0025

8-2-00
< 0.0025
8-8-00
< 0.0025

15-2-00
< 0.0025
15-8-00
< 0.0025

22-2-00
< 0.0025
22-8-00
< 0.0025

29-2-00
< 0.0025
29-8-00
< 0.0025

8-3-00
< 0.0025
5-9-00
< 0.0025

14-3-00
< 0.0025
12-9-00
< 0.0025

21-3-00
< 0.0025
19-9-00
< 0.0025

28-3-00
< 0.0025
26-9-00
< 0.0025

4-4-00
< 0.0025
3-10-00
< 0.0025

11-4-00
< 0.0025
10-10-00
< 0.0025

18-4-00
< 0.0025
17-10-00
< 0.0025

26-4-00
< 0.0025
24-10-00
< 0.0025

2-5-00
< 0.0025
31-10-00
< 0.0025

9-5-00
< 0.0025
7-11-00
< 0.0025

16-5-00
< 0.0025
14-11-00
< 0.0025

23-5-00
< 0.0025
21-11-00
< 0.0025

30-5-00
< 0.0025
28-11-00
< 0.0025

6-6-00
< 0.0025
6-12-00
< 0.0025

13-6-00
< 0.0025
12-12-00
< 0.0025

20-6-00
< 0.0025
19-12-00
< 0.0025

27-6-00
< 0.0025
28-12-00
< 0.0025

Notes:

1. Four air samplers are located along the eastern boundary of the LHSTC site, where suburban residences are closest (see Figure 2). Results are calculated making the conservative assumptions that:

(a)   all iodine-131 activity was released during the first day of the 7 day sampling period; 

(b)   all the activity was concentrated at one sampling point.

2. A person with continuous exposure to iodine-131 at a concentration of  0.0025 Bq/m3 would receive an effective dose of less than 0.01 mSv per year (IAEA, 1994).

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

57


