TABLE 17

AMBIENT IODINE-131 IN AIR at LHSTC, 1999

Sampled during the

week ending:
Iodine-131

 Air Concentration

Bq / m3
Sampled during the

week ending:
Iodine-131

 Air Concentration

Bq / m3

5-1-99
< 0.0025
6-7-99
< 0.0025

12-1-99
< 0.0025
13-7-99
< 0.0025

19-1-99
< 0.0025
20-7-99
< 0.0025

27-1-99
< 0.0025
27-7-99
< 0.0025

2-2-99
< 0.0025
3-8-99
< 0.0025

9-2-99
< 0.0025
10-8-99
< 0.0025

16-2-99
< 0.0025
17-8-99
< 0.0025

23-2-99
< 0.0025
24-8-99
< 0.0025

2-3-99
< 0.0025
31-8-99
< 0.0025

9-3-99
< 0.0025
7-9-99
< 0.0025

16-3-99
< 0.0025
14-9-99
< 0.0025

23-3-99
< 0.0025
21-9-99
< 0.0025

30-3-99
< 0.0025
28-9-99
< 0.0025

6-4-99
< 0.0025
5-10-99
< 0.0025

13-4-99
< 0.0025
12-10-99
< 0.0025

20-4-99
< 0.0025
19-10-99
< 0.0025

27-4-99
< 0.0025
28-10-99
< 0.0025

4-5-99
< 0.0025
2-11-99
< 0.0025

11-5-99
< 0.0025
9-11-99
< 0.0025

19-5-99
< 0.0025
16-11-99
< 0.0025

25-5-99
< 0.0025
23-11-99
< 0.0025

1-6-99
< 0.0025
30-11-99
< 0.0025

8-6-99
< 0.0025
7-12-99
< 0.0025

15-6-99
< 0.0025
14-12-99
< 0.0025

22-6-99
< 0.0025
21-12-99
< 0.0025

29-6-99
< 0.0025
30-12-99
< 0.0025






Notes:

1. Four air samplers are located along the eastern boundary of the LHSTC site, where suburban residences are closest (see Figure 2). Results are calculated making the conservative assumptions that:

(a)   all iodine-131 activity was released during the first day of the 7 day sampling period; 

(b)   all the activity was concentrated at one sampling point.

2. A person with continuous exposure to iodine-131 at a concentration of  0.0025 Bq/m3 would receive an effective dose of less than 0.01 mSv per year (IAEA, 1994).

