TABLE 25

FIELD PARAMETERS IN GROUNDWATERS, LFBG, May 2002

 Piezometer
SWL 

mBTOC
pH
EC

(S/cm
Eh

mV
Temp

oC

MB 11
316
7.5
739
141
21.0

MB 12
191
4.64
154
214
20.9

MB 13
131
4.96
58
129
20.7

MB 14
275
5.6
435
54
21.3

MB 15
351
5.02
199
186
22.0

MB 16
182
4.7
170
108
20.6

MB 17
101
4.96
166
112
21.7

MB 18
307
5.78
613
122
21.8

MB 19
167
5.97
2212
72
19.7

MB 20
143
5.64
540
183
18.4

MB 21
116
5.66
565
86
19.6

BH10
75
4.97
1782
85
21.6

BHF
170
4.92
470
129
19.8

OS 2
105
5.96
116
106
21.2

OS 3
86
5.04
85
126
21.4

Notes: 

1. SWL, mBTOC - Standing water level measured in metres below the top of the bore casing.
2. Field parameters were measured in triplicate (the average reading is given) using a calibrated YeoKal probe. EC is Electrical conductivity, measured in micro Siemens per centimetre;  Eh is the oxidation/reduction potential measured in millivolts.
TABLE 26

FIELD PARAMETERS IN GROUNDWATERS, LFBG, October 2002

Piezometer
Sampling Depth 

m
SWL 

mBTOC
pH
EC

(S/cm
Eh

mV
Temp

oC

MB 11
6.5
3.62
5.27
538
168
22.09

MB 12
4.0
2.92
5.32
156
186
25.95

MB 13
5.0
1.87
5.15
111
154
22.32

MB 14
5.2
3.31
5.86
311
-179
22.79

MB 15
6.5
4.38
5.44
111
179
22.07

MB 16
5.0
2.54
5.24
142
111
21.78

MB 17
4.0
1.78
5.19
130
154
24.11

MB 18
5.0
3.91
6.45
316
95
25.00

MB 19 
5.0
2.94
6.03
846
46
21.66

MB 20
4.0
2.31
6.18
159
45
18.62

MB 21
3.5
2.04
6.02
205
119
21.6

BH10
5.0
1.59
5.25
402
166
20.87

BHF
8.0
2.45
4.94
197
203
20.6

OS 2
2.5
1.90
6.21
82
115
19.46

OS 3
3.0
1.67
5.08
70
193
22.07

P1S
5.0
3.12
4.74
476
195
22.1

P1D
20.0
3.46
5.29
430
107
22.1

P2D
26.0
12.46
6.22
1956
-55
19.5

CW
11.0
4.66
5.91
509
95
20.4

Notes: 

1. SWL, mBTOC - Standing water level measured in metres below the top of the bore casing.

2. Field parameters were measured in triplicate (the average reading is given) using a calibrated YeoKal probe. EC is Electrical conductivity, measured in micro Siemens per centimetre;  Eh is the oxidation/reduction potential measured in millivolts.

TABLE 27

FIELD PARAMETERS IN GROUNDWATERS, LFBG, April - June 2003

Piezometer
Sampling Depth m
SWL 

mBTOC
pH
EC

(S/cm
Eh

mV
Temp

oC

MB 11
5.0
4.15
5.98
109
147
22.83

MB 12
3.8
1.47
6.02
27.3
180
17.61

MB 13
4.8
0.47
6.05
34.3
141
18.00

MB 14
5.5
3.93
6.51
64
48
20.27

MB 15
6.0
4.67
6.05
83
121
20.34

MB 16
5.0
3.04
5.69
68
91
20.52

MB 17
4.0
2.40
5.86
84
151
19.53

MB 18
5.5
4.02
7.11
168
108
19.42

MB 19 
4.5
0.35
6.81
70
77
19.95

MB 20
4.0
0.57
6.17
64
57
16.81

MB 21
3.0
0.23
6.55
76
111
17.92

BH10
5.5
1.81
5.98
430
93
18.4

BHF
10.0
3.14
5.91
204
97
17.82

OS 2
2.3
2.03
7.46
45
136
18.57

OS 3
3.0
1.88
5.75
39
178
20.07

P1S
5.0
2.55
4.94
59
192
19.57

P1D
10.0
2.94
6.72
86
107
18.49

P2D
15.5
11.95
5.86
913
163
17.64

CW
11.0
4.57
6.25
535
135
19.25

Notes: 

1. SWL, mBTOC - Standing water level measured in metres below the top of the bore casing.

2. Field parameters were measured in triplicate (the average reading is given) using a calibrated YeoKal probe. EC is Electrical conductivity, measured in micro Siemens per centimetre.  Eh is the oxidation/reduction potential measured in millivolts.

