ANSTO E-745


TABLE 14b

RADIOACTIVITY IN GROUNDWATER FROM LITTLE FOREST 

BURIAL GROUND, 2000

  Bore (1)
Date Sampled
RADIOACTIVITY (2,3)     Bq /L



3H
Gross 
     Gross 
Gamma Emitters






40K
Others

BHF
23-5-00
270 ( 20
< 0.05
0.11 ( 0.01
< 0.24
N.D

BH10
“
400 ( 10
< 0.05
0.05 ( 0.01
< 0.20
N.D

OS2
“
670 ( 30
< 0.03
0.07 ( 0.01
0.46 ( 0.09
N.D

OS3
“
1230 ( 30
< 0.06
0.33 ( 0.01
< 0.25 
N.D

MB11
“
< 30
< 0.02
0.03 ( 0.01
0.40 ( 0.08
N.D

MB12
“
40 ( 10
< 0.01
0.03 ( 0.01
0.25 ( 0.07
N.D

MB13
“
1280 ( 20
< 0.03
0.07 ( 0.01
0.38 ( 0.09
N.D

MB14
“
40 ( 10
< 0.11
0.17 ( 0.03
0.50 ( 0.09
N.D

MB15
“
< 10
< 0.03
0.04 ( 0.01
0.21 ( 0.10
N.D

MB16 (4)
“
6050 ( 50
0.18 ( 0.02
0.40 ( 0.01
< 0.34
60Co  0.26 ( 0.03

MB17
“
530 ( 20
< 0.03
0.04 ( 0.01
0.36 ( 0.08
N.D

MB18
“
190 ( 10
< 0.08
0.11 ( 0.02
0.48 ( 0.08
N.D

MB19 (5)
“
110 ( 10
< 0.37
0.41 ( 0.09
0.82 ( 0.11
N.D

MB20
“
40 ( 20
< 0.06
0.19 ( 0.02
0.55 ( 0.09
N.D

MB21
“
< 10
< 0.06
0.16 ( 0.01
0.65 ( 0.09
N.D

BHF
10-11-00
430 ( 50
< 0.06
0.10 ( 0.01
< 0.31
N.D

BH10
“
760 ( 20
< 0.07
0.12 ( 0.02
< 0.29
N.D

OS2
“
390 ( 20
< 0.12
0.29 ( 0.03
< 0.34
N.D

OS3
“
1900 ( 50
< 0.03
0.09 ( 0.01
< 0.33
N.D

MB11
“
< 20
< 0.06
0.07 ( 0.01
< 0.33
N.D

MB12
“
< 30
< 0.06
0.05 ( 0.01
< 0.34
N.D

MB13
“
3700 ( 100
0.11 ( 0.02
0.11 ( 0.01
< 0.32
N.D

MB14
“
150 ( 10
< 0.13
0.20 ( 0.04
< 0.33
N.D

MB15
“
< 30
0.06 ( 0.02
0.09 ( 0.01
< 0.30
N.D

MB16
“
8160 ( 80
0.90 ( 0.08
1.30 ( 0.04
< 0.18
60Co  0.097 ( 0.011

MB17
“
880 ( 20
< 0.11
0.09 ( 0.02
< 0.29
N.D

MB18
“
80 ( 10
< 0.11
0.17 ( 0.02
< 0.14
N.D

MB19
“
80 ( 10
< 0.06
0.14 ( 0.02
< 0.50
N.D

MB20
“
< 20
< 0.16
0.42 ( 0.04
< 0.64
N.D

MB21
“
110 ( 10
0.10 ( 0.02
0.30 ( 0.01
< 0.43
N.D

Notes:

1. See Figure 3 for the location of the groundwater monitoring bores at the Little Forest Burial Ground.

2. The Australian Drinking Water Guidelines (1996) recommended limits are: < 0.1 Bq/L for gross alpha activity; and < 0.5 Bq/L for gross beta activity (including potassium-40). Gross beta results above include the contribution from natural potassium-40. The WHO guideline value for tritium in drinking water is 7800 Bq/L.

3. A “less than” value indicates that the result was below the minimum detectable activity (stated at the 95% confidence level). “N.D.” indicates that no other significant radioactivity was detected.

4. The maximum 60Co level in MB16 was < 2 % of the WHO drinking water guidleine concentration (20 Bq/L). 

5. Shading indicated those bores which are outside the fenced area of the LFBG.

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

55


