ANSTO E-745


TABLE 22

NON-RADIOACTIVE COMPONENT OF LIQUID EFFLUENT 

DISCHARGED FROM LHSTC TO THE SYDNEY WATER SEWER, 

1997 – 2000

Component mg/L
YEARLY AVERAGE (1)
Standard for Acceptance

 mg/L (2)


1997
1998
1999
2000


Suspended Solids
22
22
19
19
200

pH
7.3
7.6
7.3
7.3
7 – 10

Ammonia
16.0
10.7
10
6.7
50

B.O.D.
23
12
14
7
   85 (3)

Grease
13
12
7
5
50

Chromium (4)
1.4
1.2
0.8
0.01
3 

Zinc
-
-
-
0.39
5

Notes:

1. Yearly averages are slightly overestimated since "less-than" values were included. 

2. Of the samples analysed, 95% must be less than or equal to the Standards for Acceptance of Liquid Trade Wastes to Sewers, specified in the Sydney Water Trade Waste Policy and Management Plan (1995).

3. The standards for acceptance do not stipulate a specific limit for biological oxygen demand (BOD), therefore the agreed limit is applicable in this case.

4. Chromium was removed from the effluent analysis schedule in May 2000 and replaced by zinc.

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

66


