ANSTO E-745


TABLE 21

RADIOACTIVITY IN LIQUID EFFLUENT DISCHARGED FROM LHSTC 

TO THE SYDNEY WATER SEWER, 2000

MONTH
TOTAL VOLUME

Discharged
m3
AVERAGE CONCENTRATION IN DISCHARGES
Average MONTHLY Concentration QUOTIENT (3)



ALPHA (1)
Bq/m3
BETA (2)
Bq/m3
TRITIUM

Bq/m3


January
6868
< 6.5 x 102
3.37 x 103
2.10 x 106
< 0.09

February
5336
< 6.4 x 102
5.48 x 103
1.58 x 107
< 0.18

March
10201
< 6.4 x 102
6.06 x 103
9.94 x 106
< 0.15

April
5718
< 7.5 x 102
1.02 x 104
7.86 x 106
< 0.18

May
6216
< 9.6 x 102
2.49 x 104
6.56 x 107
< 0.61

June
6083
< 9.6 x 102
3.96 x 104
2.42 x 107
< 0.52

July
6791
< 1.0 x 103
1.25 x 104
7.05 x 107
< 0.54

August
6181
< 8.6 x 102
1.28 x 104
1.90 x 107
< 0.27

September
7209
< 1.1 x 103
3.03 x 104
3.63 x 107
< 0.52

October
7120
< 1.2 x 103
6.96 x 103
4.42 x 106
< 0.17

November
6001
< 1.1 x 103
4.43 x 103
2.19 x 106
< 0.14

December
7075
< 1.0 x 103
6.57 x 103
3.59 x 106
< 0.15

Average
6733
< 9.0 x 102
1.35 x 104
2.18 x 107
< 0.29

Activity Concentration Equivalent at ANSTO (4)


1.25 x 104
(as 226Ra)
1.25 x 105 (as 90Sr)
1.95 x 108


1.00



Notes:

1. A mixture of unidentified alpha-emitting nuclides, assumed to be all radium-226 (ie. the worst possible case) when calculating the concentration quotient. 

2. A mixture of unidentified beta-emitting nuclides, assumed to be all strontium-90 (ie. the worst possible case) when calculating the concentration quotient.

3. Concentration Quotient: the sum of the average monthly concentrations of alpha, beta and tritium radioactivity in the liquid effluent divided by the Activity Concentration Equivalent for that radionuclide. The final quotient term must be no greater than one to comply with the requirements of the Sydney Water Trade Waste Service Agreement.

4. All discharges for 2000 were below the Activity Concentration Equivalents at ANSTO (which are based on the WHO Guidelines for Drinking-Water Quality).

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

65


