TABLE 5

RADIOACTIVITY IN ALGAE FROM POTTER POINT 

OCEAN OUTFALL AND THE ROYAL NATIONAL PARK, 1999

	Sampling

Location (1)
	Date

Sampled 
	Gamma Emitters in ALGAE (2)
Bq/kg FW (3)

	
	
	U&Th

 Series (4)
	7Be 
	40K
	60Co
	137Cs
	131I

	POTTER

POINT

Ocean

Outfall
	
	
	
	
	
	
	

	
	13-4-99
	(
	28 ( 3
	120 ( 10
	0.8 ( 0.2
	N.D.
	65 ( 6

	
	13-4-99
	(
	32 ( 3
	110 ( 10
	1.0 ( 0.2
	N.D.
	110 ( 10

	
	9-12-99
	(
	5 ( 1
	120 ( 10
	2.6 ( 0.3
	N.D.
	110 ( 10

	
	9-12-99
	(
	5 ( 1
	120 ( 10
	2.8 ( 0.3
	N.D.
	100 ( 10

	The Royal

National

Park

Reference

site
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	

	
	11-5-99
	(
	38 ( 4
	170 ( 20
	N.D.
	N.D.
	N.D.

	
	11-5-99
	(
	39 ( 4
	160 ( 20
	N.D.
	N.D.
	N.D.

	
	
	
	
	
	
	
	


Notes for Tables  5 & 6:

1. See Figure 4 for sampling locations. Two separate samples were collected on each occasion.

2. Algae (Enteromorpha sp., Cladophora sp.) and barnacles (Tesseropera rosea) were analysed whole and unwashed.

3. Radioactivity in units of becquerels per kilogram of fresh (wet) sample.

4. “N.D.” means the radionuclide was not detected. “(” in the U&Th Series column indicates the unquantified presence of decay products from the natural uranium-238 or thorium-232 series. U&Th Series,  7Be and 40K are all of natural origin.

