Notes for Tables 36, 37 and 38:

1. See Figure 1 for sampling locations at the Potter Point ocean outfall and the reference site. Duplicate samples were collected where possible. 

2. The whole, unwashed samples of algae (Ulva sp.) and barnacle (Tesseropera rosea) were dried and ground prior to gamma spectrometry analysis. The fish, Luderick (Girella sp.), were cut into flesh fillets.

3. Fresh Weight (FW) Radioactivity is in units of becquerels per kilogram of fresh (wet) sample.

4. Be-7 and K-40 are of natural origin. 
5. < MDA indicates that the result was below the minimum detectable activity, calculated with 95% confidence. Indicative (median) MDA values for various radionuclides and environmental media are listed in Table 1.

TABLE 38. RADIOACTIVITY IN BARNACLES, POTTER POINT AND THE ROYAL NATIONAL PARK, July 2003 to June 2004

	Location
	Date

Sampled 
	Gamma-emitters in BARNACLES 
(Bq/kg FW)

	
	
	Be-7
	K-40
	Am-241
	Co-60
	Cs-137
	I-131

	Potter Point
Ocean Outfall
	22-10-03
	< MDA
	21 ( 4
	< MDA
	< MDA
	< MDA
	< MDA

	
	15-6-04
	< MDA
	31 ( 7
	< MDA
	< MDA
	< MDA
	< MDA

	
	
	
	
	
	
	
	

	The Royal National Park
Reference
Site
	
	
	
	
	
	
	

	
	5-12-03
	< MDA
	16 ( 5
	< MDA
	< MDA
	< MDA
	< MDA

	
	22-6-04
	< MDA
	17 ( 4
	< MDA
	< MDA
	< MDA
	< MDA

	
	
	
	
	
	
	
	



