TABLE 9a

TRITIUM IN WEEKLY WATER SAMPLES FROM

MDP + 60m,(1) 1999


      Tritium (2,3,4)

   Tritium

Date
 Bq/L
Date
 Bq/L

5-1-99
125 ( 10
6-7-99
80 ( 10

12-1-99
95 ( 10
13-7-99
55 ( 5

19-1-99
90 ( 15
20-7-99
45 ( 10

27-1-99
75 ( 10
27-7-99
45 ( 5

2-2-99
25 ( 5
3-8-99
60 ( 5

9-2-99
15 ( 10
10-8-99
75 ( 10

16-2-99
70 ( 10
17-8-99
70 ( 15

23-2-99
90 ( 15
25-8-99
95 ( 5

2-3-99
40 ( 10
31-8-99
80 ( 15

9-3-99
80 ( 5
7-9-99
70 ( 10

16-3-99
100 ( 20
14-9-99
80 ( 10

23-3-99
70 ( 5
21-9-99
75 ( 5

30-3-99
75 ( 5
28-9-99
160 ( 10

6-4-99
90 ( 10
5-10-99
55 ( 10

13-4-99
160 ( 10
13-10-99
75 ( 5

20-4-99
115 ( 5
19-10-99
30 ( 5

27-4-99
100 ( 15
27-10-99
45 ( 10

4-5-99
95 ( 15
2-11-99
70 ( 15

11-5-99
105 ( 15
9-11-99
25 ( 15

19-5-99
100 ( 10
16-11-99
20 ( 5

25-5-99
70 ( 10
23-11-99
85 ( 15

1-6-99
85 ( 20 
30-11-99
90 ( 5

8-6-99
95 ( 10
7-12-99
75 ( 5

15-6-99
105 ( 15
16-12-99
65 ( 10

22-6-99
80 ( 15
21-12-9
70 ( 10

29-6-99
80 ( 10
30-12-99
60 ( 10






Notes:

1. Refer to Figure 2 for the location of this sampling point, 60m downstream of Stormwater Outlet No-1 on MDP Creek.

2. The average tritium level during 1999 was < ?? Bq/L, representing < ? % of the WHO reference concentration for tritium in drinking water (7800 Bq/L).

3. The weekly water samples were combined to make monthly composite samples, then analysed for gross alpha/beta and gamma activity.  See Table 9b for these results.

4. A “less-than” value indicates that the result was below the minimum detectable activity (stated at the 95% confidence level).

