
TABLE 11

TRITIUM IN STORMWATER BUNDS, MONTHLY COMPOSITES, LHSTC
January 2002 to June 2003


TRITIUM (Bq/L)

Month (1)
BUND A
BUND B
BUND C

January 2002
300 ( 10
80 ( 10
50 ( 10

February 2002
440 ( 10
50 ( 10
60 ( 10

March 2002
310 ( 20
70 ( 20
370 ( 20

April 2002
390 ( 10
140 ( 20
320 ( 20

May 2002
120 ( 20
60 ( 10
260 ( 10

June 2002
200 ( 20
70 ( 10
130 ( 10

July 2002
120 ( 10
70 ( 10
410 ( 10

August 2002
120 ( 10
60 ( 10
610 ( 20

September 2002
70 ( 10
70 ( 10
130 ( 10

October 2002
< MDA
40 ( 10
50 ( 10

November 2002
30 ( 10
40 ( 10
130 ( 10

December 2002
140 ( 10
50 ( 10
120 ( 10

January 2003
80 ( 10
40 ( 10
80 ( 10

February 2003
260 ( 10
80 ( 10
420 ( 20

March 2003
210 ( 10
60 ( 10
580 ( 20

April 2003
160 ( 10
90 ( 10
260 ( 10

May 2003
110 ( 10
30 ( 10
190 ( 10

June 2003
150 ( 10
60 ( 10
190 ( 10

Notes:

1. Refer to Figure 2 for the locations of the bunds. One litre was collected daily from each bund before it was discharged (except weekends and public holidays). These daily samples were combined to form a monthly composite from each bund for tritium analysis. 

2. The Australian guideline value for tritium in drinking water is 7600 Bq/L (NH&MRC 1996).

3. < MDA: indicates that the result was below the minimum detectable activity, calculated with 95% confidence. Indicative (median) MDA values for various radionuclides and environmental media are listed in Table 1.

