TABLE 7b

TRITIUM IN WEEKLY WATER SAMPLES FROM MDP BUND C,(1) 1999

Date
       Tritium (2,3)
Date
    Tritium


  Bq/L

  Bq/L

5.1.99
130 ( 15
6.7.99
75 ( 10

12.1.99
40 ( 10
13.7.99
50 ( 10

19.1.99
35 ( 15
20.7.99
60 ( 35

27.1.99
70 ( 10
27.7.99
45 ( 5

2.2.99
30 ( 5
3.8.99
75 ( 15

9.2.99
< 15
10.8.99
75 ( 15

16.2.99
70 ( 15
17.8.99
95 ( 25

23.2.99
115 ( 10
25.8.99
105 ( 5

2.3.99
35 ( 10
31.8.99
115 ( 10

9.3.99
85 ( 15
7.9.99
125 ( 5

16.3.99
105 ( 5
14.9.99
50 ( 10

23.3.99
85 ( 10
21.9.99
35 ( 15

30.3.99
100 ( 10
28.9.99
120 ( 10

6.4.99
100 ( 5 
5.10.99
90 ( 10

13.4.99
160 ( 5
12.10.99
175 ( 10

20.4.99
130 ( 10
19.10.99
40 ( 10

27.4.99
120 ( 5
27.10.99
55 ( 5

4.5.99
65 ( 10
2.11.99
45 ( 5

11.5.99
140 ( 5
9.11.99
25 ( 15

19.5.99
130 ( 10
16.11.99
15 ( 5

25.5.99
80 ( 10
23.11.99
105 ( 10

1.6.99
145 (10
30.11.99
95 ( 10

8.6.99
85 ( 10
7.12.99
90 ( 10

15.6.99
115 ( 10
16.12.99
35 ( 10

22.6.99
80 ( 10
21.12.99
85 ( 10

29.6.99
80 ( 5
30.12.99
60 ( 10

Notes:

1. Refer to Figure 2 for the location of this sampling point.

2. The average tritium level during 1999 was about  ?? Bq/L, which is less than ?% of the WHO drinking water reference activity (7800 Bq/L).

3. The weekly water samples from MDP Bund C were combined into monthly composite samples and analysed for gross alpha/beta and gamma activity. See Table 7c for these results.

4. A “less-than” value indicates that the result was below the minimum detectable activity (stated at the 95% confidence level).

