ANSTO E-745


TABLE 11

TRITIUM IN WATER FROM BARDENS CREEK WEIR (1)
(at SPCC sampling point),  2000

Date
     Tritium (2) Bq/L
Date
Tritium       Bq/L

5-1-00
40 ( 10
4-7-00
200 ( 10

11-1-00
110 ( 20
11-7-00
80 ( 10

18-1-00
100 ( 10
18-7-00
90 ( 10

25-1-00
40 ( 10
25-7-00
50 ( 10

1-2-00
140 ( 20
1-8-00
70 ( 10

8-2-00
60 ( 10
8-8-00
60 ( 10

15-2-00
50 ( 10
16-8-00
50 ( 10

22-2-00
70 ( 10
22-8-00
70 ( 50

29-2-00
1200 ( 20
29-8-00
70 ( 20

8-3-00
500 ( 10
5-9-00
160 ( 70

14-3-00
4680 ( 70
12-9-00
80 ( 10

21-3-00
110 ( 10
19-9-00
100 ( 10

28-3-00
170 ( 10
26-9-00
30 ( 10

4-4-00
160 ( 10
3-10-00
130 ( 10

11-4-00
130 ( 10
10-10-00
730 ( 30

18-4-00
360 ( 10
17-10-00
140 ( 20

26-4-00
700 ( 20
24-10-00
160 ( 20

2-5-00
150 ( 10
31-10-00
110 ( 20

9-5-00
110 ( 10
7-11-00
90 ( 10

16-5-00
50 ( 10
14-11-00
< 20

23-5-00
30 ( 10
21-11-00
70 ( 10

30-5-00
30 ( 10
28-11-00
40 ( 10

6-6-00
< 20 (3)
6-12-00
50 ( 10

13-6-00
60 ( 10
12-12-00
60 ( 20

20-6-00
50 ( 20
19-12-00
70 ( 10

27-6-00
50 ( 10
28-12-00
40 ( 10

Notes:

1. See Figure 2 for the location of this sampling point.

2. The average weekly tritium concentration at Bardens Creek weir during 2000 was 230 Bq/L which is below 3% of the WHO drinking water reference activity concentration. 

3. Values which are quoted as "less than" figures were below the stated minimum detectable activity (calculated with 95 % confidence).

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

52


