ANSTO E-745


TABLE 10

RADIOACTIVITY IN WATER FROM SPCC (1) SAMPLING POINTS, 2000

Date
RADIOACTIVITY (2)   (Bq/L)


Strassman Creek
Bardens Creek Weir
MDP Creek Weir


Gross (
Gross (
Gross (
Gross (
Gross (
Gross (

11-2-00
< 0.01(3)
0.05 ( 0.01
< 0.02
< 0.03
< 0.02
0.31 ( 0.01

25-2-00
< 0.01
0.06 ( 0.01
< 0.03
0.04 ( 0.01
< 0.02
0.30 ( 0.01

28-3-00
< 0.02
0.05 ( 0.01
< 0.03
0.06 ( 0.01
< 0.01
0.24 ( 0.01

1-5-00
< 0.02
0.04 ( 0.01
< 0.02
0.04 ( 0.01
< 0.02
0.19 ( 0.01

26-5-00
< 0.01
0.03 ( 0.01
< 0.01
0.07 ( 0.01
< 0.02
0.24 ( 0.01

27-6-00
< 0.01
0.04 ( 0.01
< 0.01
0.10 ( 0.01
< 0.01
0.19 ( 0.01

24-7-00
< 0.01
0.05 ( 0.01
< 0.02
0.05 ( 0.01
< 0.02
0.23 ( 0.01

30-8-00
< 0.02
0.03 ( 0.01
< 0.02
0.04 ( 0.01
< 0.02
0.22 ( 0.01

15-9-00
< 0.01
0.03 ( 0.01
< 0.02
0.05 ( 0.01
< 0.03
0.24 ( 0.01

6-11-00
< 0.03
0.04 ( 0.01
< 0.02
0.03 ( 0.01
< 0.01
0.18 ( 0.01

23-11-00
< 0.03
0.05 ( 0.01
< 0.02
0.06 ( 0.01
< 0.03
0.65 ( 0.02

20-12-00
< 0.02
0.06 ( 0.01
< 0.03
0.04 ( 0.01
< 0.02
0.27 ( 0.01

Notes:

1. See Figure 2 for the location of the former SPCC (now NSW EPA) sampling points.

2. The NSW Clean Waters Regulations (1972) specify limits for radioactivity in class C waters as follows: gross alpha < 1.1 Bq/L ; gross beta < 11.1 Bq/L. All gross beta results include the contribution from the naturally-occurring beta-gamma emitter, potassium-40.

3. Values which are quoted as "less than" figures were below the stated minimum detectable activity (calculated with 95 % confidence).

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

51


