ANSTO E-745


TABLE 9b

RADIOACTIVITY IN COMPOSITE 

WATER SAMPLES FROM MDP+60m(1), 2000

Monthly

Composite 
RADIOACTIVITY     (Bq/L ) 


Gross ( (2)
Gross (
Gamma-Emitters (3)




60Co (4)
137Cs (5)
7Be
40K 

January
     < 0.02 (6)
0.29 ( 0.01
-
0.012 ( 0.003
-
0.17 ( 0.04 

February
< 0.02
0.25 ( 0.01
-
0.013 ( 0.003
0.11 ( 0.03
0.18 ( 0.03

March
0.02 ( 0.01
0.38 ( 0.01
-
0.016 ( 0.003
0.20 ( 0.03
0.19 ( 0.04

April 
0.04 ( 0.01
0.34 ( 0.01
-
0.018 ( 0.003
-
0.15 ( 0.04

May 
< 0.03
0.29 ( 0.01
-
0.008 ( 0.002
-
0.11 ( 0.03

June
< 0.02
0.23 ( 0.01
-
0.007 ( 0.003
-
0.13 ( 0.03

July
< 0.03
0.28 ( 0.01
-
0.010 ( 0.003
-
< 0.07

August
< 0.03
0.34 ( 0.01
0.012 ( 0.003
0.010 ( 0.003
-
< 0.07

September
0.02 ( 0.01
0.27 ( 0.01
-
0.009 ( 0.003
-
0.16 ( 0.03

October
0.02 ( 0.01
0.32 ( 0.01
-
0.013 ( 0.003
-
< 0.07

November
0.05 ( 0.01
0.31 ( 0.01
-
0.015 ( 0.003
0.11 ( 0.03
0.13 ( 0.06

December
0.05 ( 0.01
0.49 ( 0.01
-
0.025 ( 0.004
-
0.09 ( 0.04

Notes:

1. Refer to Figure 2 for the location of this sampling point. This location was sampled weekly for tritium (see Table 9a). The remaining weekly samples were combined into a monthly composite water sample for gross alpha, beta and gamma analyses.

2. The NSW Clean Water Regulations (1972) specify limits for radioactivity in class C waters as follows:  gross (  1.1 Bq/L ;  gross (  11.1 Bq/L. The gross beta results include the contribution from potassium-40 (a natural beta-gamma emitter).

3. 7Be and 40K are of natural origin.

4. The small amount of 60Co reported for August was close to the detection limit and less than 0.1 % of the WHO reference value for 60Co in drinking water.
5. The average 137Cs concentration measured in 2000 was 0.013 Bq/L which is less than 0.2 % of the WHO reference value for 137Cs in drinking water (10 Bq/L).
6. A “less than” value indicates that the result was below the minimum detectable activity (stated with 95 % confidence).

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

50


