ANSTO E-745


TABLE 9a

TRITIUM IN WEEKLY WATER SAMPLES FROM

MDP + 60m,(1) 2000


      Tritium (2,3)

Tritium

Date
 Bq/L
Date
Bq/L

5-1-00
90 ( 10
4.7.00
70 ( 10

11-1-00
40 ( 10
11.7.00
100 ( 10

18-1-00
60 ( 10
18-7-00
70 ( 10

25-1-00
80 ( 10
26-7-00
60 ( 10

1-2-00
30 ( 10
1-8-00
80 ( 10

8-2-00
40 ( 10
8-8-00
80 ( 10

15-2-00
70 ( 20
16-8-00
60 ( 10

22-2-00
70 ( 20
22-8-00
80 ( 10

29-2-00
70 ( 10
29-8-00
70 ( 10

8-3-00
30 ( 10
5-9-00
150 ( 10

14-3-00
120 ( 10
12-9-00
80 ( 10

21-3-00
30 ( 10
19-9-00
70 ( 10

28-3-00
80 ( 10
26-9-00
40 ( 10

4-4-00
80 ( 10
3-10-00
70 ( 10

11-4-00
70 ( 10
10-10-00
110 ( 20

18-4-00
130 ( 10
17-10-00
70 ( 10

26-4-00
70 ( 10
24-10-00
90 ( 20

2-5-00
90 ( 10
31-10-00
80 ( 10

9-5-00
100 ( 10
7-11-00
120 ( 10

16-5-00
70 ( 10
14-11-00
< 20(4)

23.5.00
90 ( 30
21-11-00
30 ( 10

30.5.00
60 ( 10
28-11-00
100 ( 10

6.6.00
40 ( 10
6-12-00
40 ( 10

13.6.00
60 ( 10
12-12-00
120 ( 10

20.6.00
70 ( 10
19-12-00
90 ( 10

27.6.00
80 ( 10
28-12-00
80 ( 20






Notes:

1. Refer to Figure 2 for the location of this sampling point, 60m downstream of Stormwater Outlet No. 1 on MDP Creek.

2. The average tritium level during 2000 was about 80 Bq/L, representing  1% of the WHO reference concentration for tritium in drinking water (7800 Bq/L).

3. The weekly water samples were combined to make monthly composite samples, then analysed for gross alpha/beta and gamma activity. See Table 9b for these results.

4. A “less-than” value indicates that the result was below the minimum detectable activity (stated at the 95% confidence level).

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

49


