ANSTO E-745


TABLE 7b

TRITIUM IN WEEKLY WATER SAMPLES FROM MDP BUND C,(1) 2000

Date
       Tritium (2,3)
Date
Tritium


  Bq/L

Bq/L

5-1-00
120 ( 10
4-7-00
50 ( 10

11-1-00
20 ( 10
11-7-00
100 ( 10

18-1-00
110 ( 10
18-7-00
70 ( 10

25-1-00
70 ( 10
26-7-00
70 ( 10

1-2-00
40 ( 10
1-8-00
90 ( 10

8-2-00
30 ( 10
8-8-00
80 ( 10

15-2-00
40 ( 10
16-8-00
60 ( 10

22-2-00
60 ( 20
22-8-00
80 ( 10

29-2-00
80 ( 10
29-8-00
70 ( 10

8-3-00
30 ( 10
5-9-00
160 ( 20

14-3-00
140 ( 10
12-9-00
70 ( 10

21-3-00
30 ( 10
19-9-00
40 ( 10

28-3-00
90 ( 10
26-9-00
20 ( 10

4-4-00
90 ( 10
3-10-00
50 ( 10

11-4-00
80 ( 10
10-10-00
120 ( 10

18-4-00
110 ( 10
17-10-00
50 ( 10

29-4-00
60 ( 10
24-10-00
90 ( 10

2-5-00
100 ( 10
31-10-00
90 ( 10

9-5-00
120 ( 10
7-11-00
190 ( 10

16-5-00
80 ( 10
14-11-00
< 10 (4)

23-5-00
110 ( 10
21-11-00
40 ( 10

30-5-00
40 ( 10
28-11-00
110 ( 10

6-6-00
30 ( 10
6-12-00
30 ( 10

13-6-00
50 ( 20
12-12-00
130 ( 10

20-6-00
110 ( 20
19-12-00
90 ( 10

27-6-00
90 ( 20
28-12-00
110 ( 10

Notes:

1. Refer to Figure 2 for the location of this sampling point.

2. The average tritium level in MDP Bund C during 2000 was 80 Bq/L, which is 1% of the WHO drinking water reference activity (7800 Bq/L).

3. The weekly water samples from MDP Bund C were combined into monthly composite samples and analysed for gross alpha/beta and gamma activity. See Table 7c for these results.

4. A “less-than” value indicates that the result was below the minimum detectable activity (stated at the 95% confidence level).

ENVIRONMENTAL and EFFLUENT MONITORING at ANSTO SITES, 2000

46


