TABLE 12

TRITIUM IN STORMWATER, BUND C, LHSTC, January 2002 to June 2003

Date
Tritium 
Bq/L
Date
Tritium
Bq/L
Date
Tritium
Bq/L
Date
Tritium
 Bq/L

02-01-02
110 ( 10
14-5-02
390 ± 20
1-10-02
120 ( 10
18-2-03
700 ( 20

09-01-02
210 ( 10
21-5-02
200 ± 10
8-10-02
90 ( 10
25-2-03
330 ( 10

15-01-02
60 ( 10
28-5-02
340 ± 10
15-10-02
140 ( 20
4-3-03
550 ( 20

22-01-02
90 ( 10
4-6-02
150 ± 20
22-10-02
140 ( 20
11-3-03
150 ( 10

29-01-02
100 ( 10
11-6-02
300 ± 20
29-10-02
120 ( 20
18-3-03
1480 ( 30

5-2-02
< MDA
18-6-02
240 ± 20
5-11-02
170 ( 10
25-3-03
970 ( 20

12-2-02
80 ( 10
25-6-02
250 ± 20
12-11-02
2550 ( 50
1-4-03
330 ( 10

19-2-02
70 ( 10
3-7-02
210 ± 20
19-11-02
180 ( 20
8-4-03
630 ( 20

26-2-02
60 ( 10
9-7-02
150 ± 10
26-11-02
100 ( 10
15-4-02
420 ( 10

5-3-02
150 ( 10
16-7-02
160 ( 10
3-12-02
150 ( 20
22-4-03
430 ( 10

12-3-02
1400 ( 30
23-7-02
1070 ( 30 
10-12-02
20 ( 10
29-4-03
150 ( 10

19-3-02
200 ( 20
30-7-02
100 ( 10
17-12-02
110 ( 20
6-5-03
70 ( 10

26-3-02
180 ( 10
6-8-02
240 ( 10
23-12-02
120 ( 10
13-5-03
30 ( 10

2-4-02
2450 (50
13-8-02
1750 ( 50
30-12-02
260 ( 10
20-5-03
220 ( 10

9-4-02
390 ( 10
20-8-02
1150 ( 20
7-1-03
220 ( 20
27-5-03
290 ( 10

16-4-02
330 ( 10
29-8-02
510 ( 10
14-1-03
120 ( 20
3-6-03
150 ( 10

23-04-02
240 ( 10
3-9-02
140 ( 20
21-1-03
110 ( 20
10-6-03
130 ( 10

30-4-02
280 ± 20
10-9-02
90 ( 10
28-1-03
120 ( 20
17-6-03
110 ( 10

7-5-02
290 ± 10
17-9-02
20 ( 10
4-2-03
20 ( 10
24-6-03
90 ( 10



24-9-02
210 ( 10
11-2-03
830 ( 20



Notes:

1. Refer to Figure 2 for the location of this sampling point. The weekly water samples were also combined into monthly composite samples and analysed for gross alpha/beta and gamma activity.

2. < MDA: indicates that the result was below the minimum detectable activity, calculated with 95% confidence. Indicative (median) MDA values for various radionuclides and environmental media are listed in Table 1.

